## Cover
Version control
Aug 2020: | issued to Nick Tamkin (Secretary to the Planning & Resources Committee)
Mar 2021: | published on the Environment & Energy website
contacts for Sustainability Team updated
Carbon factors tab added
Approach to assessing sequestration clarified

## CO2 reporting template
CO2 reporting template
NB: values used are indicative only. For the latest figures appropriate to your specific project please contact the Estates Division Sustainability Team at: Sustainability@admin.cam.ac.uk | [5 empty] | Range applied at to reflect uncertainty
| Units | Existing to be demolished or refurbished | Proposed refurbishment | Proposed new build | Notes | +20% | -20%
Gross Internal Area | m2 |  |  |  | Defined as space measured from inner space of external walls inlcusive of internal partitions, structure, lifts, stairs and service accommodation such as WCs, plant rooms and stores. Estates Division can provide area records for all existing space.
Operational gas per unit area | kWh/m2/yr |  |  | n/a | The Environment & Energy team can supply existing figures from metering data and predicted figures using benchmarks. Project proposals are not expected to prolong reliance on fossil natural gas
Total operational gas | kWh/yr | 0 | 0 | n/a
Gas carbon factor | kgCO2e/kWh | 0.21 | 0.21 | n/a | The carbon factor for gas is as used for regulatory approval (SAP10.1). It is not expected to change significantly over time. This factor accounts for CO2 emissions associated with production and delivery of the energy.
CO2 emissions associated with gas over first 30 years of operation | tonnes CO2e | 0 | 0 | n/a | Prior to completion of concept design an accuracy no greater than +/- 20% is expected
Operational electricity per unit area | kWh/m2/yr |  |  |  | The Estates Division Sustainability Team can supply existing figures from metering data, and predicted figures using benchmarks. Predictions should be updated by design consultants at Concept and Full Business Case stages based on computer modelling
Operational electricity demand met by on-site renewable energy generation | kWh/yr | n/a |  |  | The Environment & Energy team can supply an estimate based on area likely to be available for photovoltaic arrays
Total operational grid electricity | kWh/yr | 0 | 0 | 0
Grid electricity carbon factor | kgCO2e/kWh |  |  |  | Average of annual carbon factors over first 30 years of operation (see 'Grid carbon' tab)
CO2 emissions associated with electricity over first 30 years of operation | tonnes CO2e | 0 | 0 | 0 | Prior to completion of concept design an accuracy no greater than +/- 20% is expected
Total Scope 1 & 2 CO2 emissions over 30 years | tonnes CO2e | 0 | 0 | 0 | Net change in Scope 1 & 2 CO2 emissions over 30 years (tonnes) | 0 | 0
[5 empty] | 0 | 0 | 0
Embodied CO2 emissions per unit area | kgCO2e/m2 | 0 |  |  | The Estates Division Sustainability Team can supply benchmark figures. Prior to completion of concept design an accuracy no greater than +/- 20% is expected. Predictions should be updated by design consultants at Concept and Full Business Case using the methodology defined in Chapter 2 of the University Design & Standards Brief.
CO2 released or sequestered as a consequence of changes to timber elements of construction | tonnes CO2e |  |  |  | Timber based components that are stripped out as a consequence of demolition or refurbishment are assumed to become waste for fuel. CO2 is therefore deemed to be released unless a secondary use has been identified. New timber should assume CO2 is gradually sequestered as replacement trees mature. For this reason sequestration is assumed to be 50% of the carbon content of the material.
Net embodied CO2 emissions (reportable as Scope 3 in year of construction completion) | tonnes CO2e | 0 | 0 | 0 | 0 | 0 | 0
Change in travel related CO2 emissions | A change is only thought likely if the project involves relocating a function several miles (e.g. from city centre to western fringe). The Estates Division Sustainability Team can advise on potential impact based on travel survey data |  |  |  | 0
Total CO2 emissions over 30 years | tonnes CO2e | 0 | 0 | 0 | Net change in CO2 emissions: Operational and embodied over 30 years (tonnes) | 0 | 0
[5 empty] | 0 | 0 | 0
Potential offsetting outside the immediate project boundary | The Estates Division Sustainability Team can advise on potential for the project to contribute to wider decarbonisation measures. For example forming part of an energy network with neighbours. |  |  |  | 0

## Worked example
worked example
NB: values used are indicative only. For the latest figures appropriate to your specific project please contact the Estates Division Sustainability Team at: Sustainability@admin.cam.ac.uk | [5 empty] | Range applied at Concept Stage to reflect uncertainty
| Units | Existing to be demolished or refurbished | Proposed refurbishment | Proposed new build | Notes | +20% | -20%
Gross Internal Area | m2 | 2575 | 2575 | 1326 | Defined as space measured from inner space of external walls inlcusive of internal partitions, structure, lifts, stairs and service accommodation such as WCs, plant rooms and stores.
Operational gas per unit area | kWh/m2/yr | 107 | n/a | n/a | Existing gas consumption based on metered data averaged over the last three years.
Total operational gas | kWh/yr | 275525 | n/a | n/a
Gas carbon factor | kgCO2e/kWh | 0.21 | n/a | n/a | The carbon factor for gas is as used for regulatory approval (SAP10.1). It is not expected to change significantly over time. This factor accounts for CO2 emissions associated with production and delivery of the energy.
CO2 emissions associated with gas over first 30 years of operation | tonnes CO2e | 1735.8075 | n/a | n/a
Operational electricity per unit area | kWh/m2/yr | 98 | 83 | 75 | Existing electricity consumption based on metered data averaged over the last three years. Refurbishment and new build figures as advised by designers.
Operational electricity demand met by on-site renewable energy generation | kWh/yr | 0 | 0 | 50725 | Predicted output from 310m2 of PV panel
Total operational grid electricity | kWh/yr | 252350 | 213725 | 48725
Grid electricity carbon factor | kgCO2e/kWh | 0.099529 | 0.099529 | 0.099529 | Average of annual carbon factors over first 30 years of operation (see 'Grid carbon' tab)
CO2 emissions associated with electricity over first 30 years of operation | tonnes CO2e | 753.4813 | 638.1526 | 145.4859
Total Scope 1 & 2 CO2 emissions over 30 years | tonnes CO2e | 2489.2888 | 638.1526 | 145.4859 | Net change in Scope 1 & 2 CO2 emissions over 30 years (tonnes) | 940.3662 | 626.9108
[5 empty] | -1705.6503 | -1548.9226 | -1862.378
Embodied CO2 emissions per unit area | kgCO2e/m2 | 0 | 100 | 600 | Embodied CO2 as per scope defined in Chapter 2 of the University Design & Standards Brief. Benchmark for refurbishment assumes extensive fabric efficiency upgrades. Benchmark for new build is a midpoint between a hybrid timber/steel/concrete structure and a predominately concrete structure.
CO2 released or sequestered as a consequence of changes to timber elements of construction | tonnes CO2e | 4 | -4 | -16 | 5m3 of timber joinery and structure stripped out as a consequence of refurbishment will release CO2 at a rate of 0.8tonnes/m3 10m3 of new timber will be form part of refurbishment and 40m3 will form part of new build (sequestering at reduced rate of 0.4 tonnes/m3 to reflect gradual sequestration of replacement trees). of the material. New timber should assume CO2 is gradually sequestered as replacement trees mature. For this reason sequestration is assumed to be 50% of the carbon content of the material.
Net embodied CO2 emissions (reportable as Scope 3 in year of construction completion) | tonnes CO2e | 4 | 253.5 | 779.6 | 1033.1 | 1239.72 | 826.48
Change in travel related CO2 emissions | Not applicable as location is not changing |  |  |  | 0
Total CO2 emissions over 30 years | tonnes CO2e | 2493.2888 | 891.6526 | 925.0859 | Net change in CO2 emissions: Operational and embodied over 30 years (tonnes) | 2180.0862 | 1453.3908
[5 empty] | -672.5503 | -309.2026 | -1035.898
Potential offsetting outside the immediate project boundary | Not required as the the project is already delivering a cut in emissions, mainly due to removal of fossil gas fired heating. |  |  |  | 0

## Grid carbon
BEIS projected grid average kgCO2e/kwh from Data Table 1: Consumption Based; Commercial & Public Sector : https://www.gov.uk/government/publications/valuation-of-energy-use-and-greenhouse-gas-emissions-for-appraisal
(2019 projection however website states current as of March 2020)
Reportable figures highlighted are government mandated reporting figures for the year in question, future projections based on BEIS with adjustment factor
Year | BEIS | Reportable | Adjustment factor
2017 | 0.24271 | 0.352 | Actual
2018 | 0.17685 | 0.283 | Actual
2019 | 0.14344 | 0.256 | Actual
2020 | 0.13798 | 0.233 | Actual
2021 | 0.11313 | 0.20813 | 0.095
2022 | 0.10511 | 0.19611 | 0.091
2023 | 0.10987 | 0.19687 | 0.087
2024 | 0.10239 | 0.18539 | 0.083
2025 | 0.10341 | 0.18241 | 0.079
2026 | 0.096897 | 0.1719 | 0.075
2027 | 0.10334 | 0.17434 | 0.071
2028 | 0.097855 | 0.16485 | 0.067
2029 | 0.090133 | 0.15313 | 0.063
2030 | 0.081263 | 0.14026 | 0.059
2031 | 0.071503 | 0.1265 | 0.055
2032 | 0.060159 | 0.11116 | 0.051
2033 | 0.055772 | 0.10277 | 0.047
2034 | 0.048478 | 0.091478 | 0.043
2035 | 0.040146 | 0.079146 | 0.039
2036 | 0.040146 | 0.075146 | 0.035
2037 | 0.040146 | 0.071146 | 0.031
2038 | 0.040146 | 0.067146 | 0.027
2039 | 0.040146 | 0.063146 | 0.023
2040 | 0.040146 | 0.059146 | 0.019
2041 | 0.038841 | 0.053841 | 0.015
2042 | 0.037536 | 0.048536 | 0.011
2043 | 0.03623 | 0.04323 | 0.007
2044 | 0.034925 | 0.037925 | 0.003
2045 | 0.03362 | 0.03362 | 0
2046 | 0.032315 | 0.032315 | 0
2047 | 0.03101 | 0.03101 | 0
2048 | 0.029705 | 0.029705 | 0
2049 | 0.0284 | 0.0284 | 0
2050 | 0.027094 | 0.027094 | 0
2051 | 0.027094 | 0.027094 | 0
2052 | 0.027094 | 0.027094 | 0
2053 | 0.027094 | 0.027094 | 0
2054 | 0.027094 | 0.027094 | 0
2055 | 0.027094 | 0.027094 | 0
2056 | 0.027094 | 0.027094 | 0
2057 | 0.027094 | 0.027094 | 0
2058 | 0.027094 | 0.027094 | 0
2059 | 0.027094 | 0.027094 | 0
2060 | 0.027094 | 0.027094 | 0
2061 | 0.027094 | 0.027094 | 0
2062 | 0.027094 | 0.027094 | 0
2063 | 0.027094 | 0.027094 | 0
2064 | 0.027094 | 0.027094 | 0
| Average for 30 years 2021 to 2050 inclusive | 0.099529